Team Guide Cheat Sheet

HW:

- Unknown Wastes/Hazardous Waste determinations: HW.10.1

- Universal waste batteries: HW.290.1

- Universal waste lamps: HW.290.6

Solid Waste:

- Bulky waste stored longer than 90 days: SO.10.5

- Food wastes not collected every 7 days: SO.10.1

Hazardous Materials:

- EPCRA Tier 2 Reporting not submitted: HM.30.2

- Bungs missing from flammable storage cabinets: HM.35.4

- Excess flammable liquids/aerosols stored outside of approved areas: HM.40.1

- Incompatible hazardous materials stored together: HM.35.9

HazCom:

- HazCom Plan Not Present/Needs Updating: HM.10.1

- Secondary containers not labeled: HM.1.3

Used Oil/SPCC/POL

- Containers not labeled “Used Oil”: PO.65.6

- SPCC Plan Missing/Incomplete: PO.5.1

- SPCC Monthly/Annual Inspections Not Performed: PO.5.10

- SPCC Plan Oil Handling Personnel Training Missing: PO.5.7

- SPCC Plan 5 Year review missing: PO.5.3

Wastewater

- O&M Plans not present (FS): WA.20.4

Water Quality:

- Backflow prevention devices not present:  WQ.10.1

- Large Capacity Septic Systems not registered: WQ.114.3